Diamond D Microwave Processing Instructions

Microwave Power Settings

Low = 110 watt

Med/Low = 330 watt

Med/High = 770 watt

High = 1100 watt

-Medium – Low for 12 minutes

Turn flask every 3 minutes (4 times)

-Then medium/High for 3 more minutes

-Let cool to room temperature

-Deflask